## Slide 1
FOX demonstrator
Configuration for
LArDPS to eFEX Test
-- direct path
Rev: 07-Jan-2015

## Slide 2
LArDPS to eFEX
Test Configuration
-- direct path
High level diagram
of LArDPS to eFEX
light path
(trivial case)
http://www.pa.msu.edu/hep/atlas/l1calo/fox/specification/2_demonstrator/figures/

## Slide 3
Trunk Cable
M
F
F
M
48 Fibers
LArDPS to eFEX Test Configuration – direct path: Optical Insertion Loss Measurement with CMX
MTP
MTP
48 Fibers
48 Fibers
Breakout Cable (48)
Breakout Cable (48)
CMX
out
F
in
M
12 Fibers
M
12 Fibers
F
LC/LC
LC/LC
x12
x12
Breakout Cable (12)
Breakout Cable (12)
MTP
MTP
Above the line EXACTLY matches the setup planned for this FOX demonstrator test

## Slide 4
CMX
out
F
in
M
12 Fibers
M
12 Fibers
F
LC/LC
LC/LC
Direct LC-LC connections
x12
x12
LArDPS to eFEX Test Configuration – direct path: offset calibration with CMX
Breakout Cable (12)
Breakout Cable (12)
MTP
MTP

## Slide 5
Trunk Cable
48 Fibers
M
F
M
F
MTP
MTP
48 Fibers
48 Fibers
Breakout Cable (48)
Breakout Cable (48)
Fluke
Source
Fluke
Meter
LC/LC
LC/LC
Single Fiber SC-LC
Single Fiber SC-LC
x1
x1
LArDPS to eFEX Test Configuration – direct path: Optical Insertion Loss Measurement with Fluke handheld meter
Above the line EXACTLY matches the setup planned for this FOX demonstrator test

## Slide 6
Direct LC-LC connection
Fluke
Source
Fluke
Meter
LC/LC
LC/LC
Single Fiber SC-LC
Single Fiber SC-LC
x1
x1
LArDPS to eFEX Test Configuration – direct path: offset calibration with Fluke handheld meter

## Slide 7
FOX demonstrator
Configuration for
LArDPS to eFEX Test
-- without splitters

## Slide 8
LArDPS to eFEX
Test Configuration
-- without splitters
High level diagram
of LArDPS to eFEX
light paths
http://www.pa.msu.edu/hep/atlas/l1calo/fox/specification/2_demonstrator/figures/

## Slide 9
LArDPS to eFEX
Test Configuration
-- without splitters
Detailed connection map between all modules
http://www.pa.msu.edu/hep/atlas/l1calo/fox/specification/2_demonstrator/figures/

## Slide 10
M
M
LArDPS to eFEX Test Configuration – without splitters: Optical Insertion Loss Measurement with CMX
48 Fibers
48 Fibers
Breakout Cable (48)
Breakout Cable (48)
CMX
out
F
in
M
12 Fibers
M
12 Fibers
F
LC/LC
LC/LC
x12
x12
Breakout Cable (12)
Breakout Cable (12)
MTP
MTP
out
in
F
M
M
LC/LC
Trunk Cable (48)
Above the line EXACTLY matches the setup planned for this FOX demonstrator test
M
M
F
F
F
out
(LArFOX)
(eFOX)
x48
F
F
MTP
MTP
MTP
MTP
MTP
MTP
in
Trunk Cable (48)
Trunk Cable (48)
Breakout Cable (48)
Breakout Cable (48)
Trunk Cable (48)

## Slide 11
Direct LC-LC connections
LArDPS to eFEX Test Configuration – without splitters: offset calibration with CMX – method #1
CMX
out
F
in
M
12 Fibers
M
12 Fibers
F
LC/LC
LC/LC
x12
x12
Breakout Cable (12)
Breakout Cable (12)
MTP
MTP

## Slide 12
M
F
M
Trunk Cable
F
48-Fiber
MTP
MTP
LArDPS to eFEX Test Configuration – without splitters: offset calibration with CMX – method #2
48 Fibers
48 Fibers
Breakout Cable (48)
Breakout Cable (48)
CMX
out
F
in
M
12 Fibers
M
12 Fibers
F
LC/LC
LC/LC
x12
x12
Breakout Cable (12)
Breakout Cable (12)
MTP
MTP

## Slide 13
out
in
F
M
M
LC/LC
Trunk Cable (48)
M
M
F
F
48 Fibers
F
48 Fibers
out
Fluke
Source
Fluke
Meter
LC/LC
LC/LC
Single Fiber SC-LC
Single Fiber SC-LC
(LArFOX)
(eFOX)
x1
x1
x48
M
F
M
F
MTP
MTP
MTP
MTP
MTP
MTP
in
LArDPS to eFEX Test Configuration – without splitters: Optical Insertion Loss Measurement with Fluke handheld meter
Trunk Cable (48)
Trunk Cable (48)
Breakout Cable (48)
Breakout Cable (48)
Breakout Cable (48)
Breakout Cable (48)
Trunk Cable (48)
Above the line EXACTLY matches the setup planned for this FOX demonstrator test

## Slide 14
Direct LC-LC connection
LArDPS to eFEX Test Configuration – without splitters: offset calibration with Fluke -- method #1
Fluke
Source
Fluke
Meter
LC/LC
LC/LC
Single Fiber SC-LC
Single Fiber SC-LC
x1
x1

## Slide 15
Trunk Cable
48-Fiber
M
F
M
F
MTP
MTP
LArDPS to eFEX Test Configuration – without splitters: offset calibration with Fluke -- method #2
Tentative decision : Not currently planning to use this time-intensive method
unless the CMX tests suggest otherwise
Fluke
Source
Fluke
Meter
LC/LC
LC/LC
Single Fiber SC-LC
Single Fiber SC-LC
1xx1
x1
48 Fibers
48 Fibers
Breakout Cable (48)
Breakout Cable (48)

## Slide 16
FOX demonstrator
Configuration for
LArDPS to eFEX Test
-- with splitters

## Slide 17
LArDPS to eFEX
Test Configuration
-- with splitters
High level diagram
of LArDPS to eFEX
light paths
http://www.pa.msu.edu/hep/atlas/l1calo/fox/specification/2_demonstrator/figures/

## Slide 18
LArDPS to eFEX
Test Configuration
-- with splitters
Detailed connection map between all modules
(trivial in this case)
http://www.pa.msu.edu/hep/atlas/l1calo/fox/specification/2_demonstrator/figures/

## Slide 19
M
M
LArDPS to eFEX Test Configuration – with splitters: Optical Insertion Loss Measurement with CMX
48 Fibers
48 Fibers
Breakout Cable (48)
Breakout Cable (48)
CMX
out
F
in
M
12 Fibers
M
12 Fibers
F
LC/LC
LC/LC
x12
x12
Breakout Cable (12)
Breakout Cable (12)
MTP
MTP
out
in
F
M
M
LC/LC
Trunk Cable (48)
Above the line EXACTLY matches the setup planned for this FOX demonstrator test
M
M
F
F
F
out
(LArFOX)
(eFOX)
x48
F
F
MTP
MTP
MTP
MTP
MTP
MTP
in
Trunk Cable (48)
Trunk Cable (48)
Breakout Cable (48)
With splittters
Breakout Cable (48)
Trunk Cable (48)
x6

## Slide 20
  The same procedure that was illustrated for the measurements
  of the LArDPS to eFEX Test Configuration without splitters
  is also followed here for :
    Offset calibration with CMX
    Optical Insertion Loss Measurement with Fluke handheld meter
    Offset calibration with Fluke
LArDPS to eFEX Test Configuration – with splitters:

## Slide 21
FOX demonstrator
Configuration for
LArDPS to gFEX Test
-- without splitters

## Slide 22
LArDPS to gFEX
Test Configuration
-- without splitters
High level diagram
of LArDPS to gFEX
light paths
http://www.pa.msu.edu/hep/atlas/l1calo/fox/specification/2_demonstrator/figures/

## Slide 23
LArDPS to gFEX
Test Configuration
-- without splitters
Detailed connection map between all modules
http://www.pa.msu.edu/hep/atlas/l1calo/fox/specification/2_demonstrator/figures/

## Slide 24
M
M
LArDPS to gFEX Test Configuration – without splitters: Optical Insertion Loss Measurement with CMX
48 Fibers
72 Fibers
Breakout Cable (72)
Breakout Cable (48)
CMX
out
F
in
M
12 Fibers
M
12 Fibers
F
LC/LC
LC/LC
x12
x12
Breakout Cable (12)
Breakout Cable (12)
MTP
MTP
out
in
F
M
M
LC/LC
Trunk Cable (48)
Above the line EXACTLY matches the setup planned for this FOX demonstrator test
M
M
F
F
F
out
(LArFOX)
(gFOX)
x48
F
F
MTP
MTP
MTP
MTP
MTP
MTP
in
Trunk Cable (48)
Trunk Cable (72)
Breakout Cable (48)
Breakout Cable (72)
Trunk Cable (48)

## Slide 25
  The same procedure that was illustrated for the measurements
  of the LArDPS to eFEX Test Configuration without splitters
  is also followed here for :
    Offset calibration with CMX
    Optical Insertion Loss Measurement with Fluke handheld meter
    Offset calibration with Fluke
LArDPS to gFEX Test Configuration – without splitters:

## Slide 26
FOX demonstrator
Configuration for
LArDPS to gFEX Test
-- with splitters

## Slide 27
LArDPS to gFEX
Test Configuration
-- with splitters
High level diagram
of LArDPS to gFEX
light paths
http://www.pa.msu.edu/hep/atlas/l1calo/fox/specification/2_demonstrator/figures/

## Slide 28
LArDPS to gFEX
Test Configuration
-- with splitters
Detailed connection map between all modules
http://www.pa.msu.edu/hep/atlas/l1calo/fox/specification/2_demonstrator/figures/

## Slide 29
M
M
LArDPS to gFEX Test Configuration – with splitters: Optical Insertion Loss Measurement with CMX
48 Fibers
Breakout Cable (48)
CMX
out
F
in
M
12 Fibers
M
12 Fibers
F
LC/LC
LC/LC
x12
x12
Breakout Cable (12)
Breakout Cable (12)
MTP
MTP
out
in
F
M
M
LC/LC
Trunk Cable (48)
Above the line EXACTLY matches the setup planned for this FOX demonstrator test
M
M
F
F
F
out
(LArFOX)
(gFOX)
x48
F
F
MTP
MTP
MTP
MTP
MTP
MTP
in
Trunk Cable (48)
Breakout Cable (48)
With splittters
Trunk Cable (48)
x6
72 Fibers
Breakout Cable (72)
Trunk Cable (72)
Breakout Cable (72)

## Slide 30
  The same procedure that was illustrated for the measurements
  of the LArDPS to eFEX Test Configuration without splitters
  is also followed here for :
    Offset calibration with CMX
    Optical Insertion Loss Measurement with Fluke handheld meter
    Offset calibration with Fluke
LArDPS to gFEX Test Configuration – with splitters:

## Slide 31
Older Slides

## Slide 32
CMX
12 Fibers
48 Fibers
in
out
in
48 Fibers
12 Fibers
out
F
F
F
F
F
F
M
M
M
M
LC/LC
LC/LC
Trunk Cable
Trunk Cable
Trunk Cable
Notes: CMX(1):
Install in the boxes 12-fiber MALE breakout cables (48-fiber MALE breakout cables).
Connect them to CMX by 12-fiber FEMALE trunks.
Connect 12 fibers by LC/LC couplers to 48-fiber breakout cables inside the boxes.

## Slide 33
1 Fiber
48 (or 72) Fibers
in
out
in
48 (or 72) Fibers
1 Fiber
out
F
F
M
M
LC/LC
LC/LC
Fluke
Source
Fluke
Meter
Trunk Cable
SC
LC
Notes: Fluke (1):
Connect Fluke source/meter by SC/LC test reference cords to the LC connectors in the above setup.
Do measurements for all 48 (or 72) channels.

## Slide 34
12 Fibers
48 (or 72) Fibers
in
out
in
48 (or 72) Fibers
12 Fibers
out
F
F
M
M
SC/LC
LC/LC
Fluke
Source
Fluke
Meter
12 Fibers
F
M
Trunk Cable
M
F
12 Fibers
Notes: Fluke (2):
Do as above for CMX, but instead of 12-fiber FEMALE trunks to CMX install 12-fiber FEMALE breakout cables.
Connect Fluke source/meter by SC/LC test reference cords to the LC connectors in the above setup.
Do measurements for all 48 (or 72) channels.