Calibrate under experiment menu:

Wait to warm up &ollow instruction in dialog box to complete calibration:

Change scale so spectrum fits:

Choose from pop up window  -- I changed top to 3.5 to fit:

Example absorption spectrum of red: