Visible Spectra
of Commercial Dyes

Light is composed of photons with quantized wavelengths and energies. The longer the wavelength, the lower the energy. Types of light are categorized as: gamma, x-ray, ultraviolet (UV), visible (vis), infrared (IR), microwave, and radio waves, depending on the wavelength of the photon. The light that our eyes can detect, conveniently referred to as the visible region, is a very small section of the light spectrum.

Spectroscopy is the study of the transmission or absorbance of light through a substance. Transmittance is a measure of the amount of light passing through a substance; absorbance is the amount of light that was captured by a substance. A clear colorless piece of glass has close to 100% transmittance and 0 absorbance of visible light. In colored liquids, for example, the color we see is a result of the different wavelengths absorbed and total amount of light absorbed.

In this experiment, you will use a Vernier SpectroVis spectrophotometer to identify the dyes found in commercial products.  Different dyes absorb at different wavelengths. You will measure the absorbance of food dyes, mixed with water, over the visible light range and compare the spectra of the dyes to the spectra of various commercial products.

OBJECTIVES

In this experiment, you will

- Measure and analyze the visible light absorbance spectra of various samples of aqueous food dye mixtures to determine the absorbance spectrum for each sample.

- Compare and contrast the spectra of various food dye mixtures.

- Test a sample of a commercial liquid product to identify the food dye(s) in the product.

MATERIALS

| Vernier SpectroVis Plus | food coloring |
| --- | --- |
| LabQuest or computer | commercial drink or mouthwash |
| LabQuest App or Logger Pro | distilled water |
| one cuvette | stirring rod |
| 100 mL graduated cylinder | tissues (preferably lint-free) |
| 250 mL beakers | plastic Beral pipets |

PROCEDURE

1.	Obtain and wear goggles.

2.	Connect the SpectroVis Plus spectrophotometer to the USB port of LabQuest or a computer. Start the data-collection program, and then choose New from the File menu.

3.	Record the type of food coloring that you will be testing (such as Red #40 or Blue #1). Prepare each sample by dissolving 1 drop of food coloring in 100 mL of distilled water.

4.	Calibrate the spectrophotometer.

- Prepare a blank by filling an empty cuvette ¾ full with distilled water.

- Choose Calibrate from the Sensors menu of LabQuest or the Experiment menu of Logger Pro.

- Place the blank in the spectrophotometer; make sure to align the cuvette so that the clear sides are facing the light source of the spectrophotometer. When the warmup period is complete, select Finish Calibration. Select OK.

5.	Conduct a full spectrum analysis of a food coloring sample.

- Empty the blank cuvette and rinse it twice with small amounts of a food coloring mixture. Fill the cuvette ¾ full with the food coloring mixture and place it in the spectrophotometer. Align the cuvette so that the clear sides are facing the light source of the spectrophotometer.

- Start data collection. A full spectrum graph of the food coloring sample will be displayed.

- Stop data collection. Examine the graph, noting the peak or peaks of very high absorbance or other distinguishing features.

6.	Store the run by tapping the File Cabinet icon in LabQuest, or choosing Store Latest Run from the Experiment menu in Logger Pro.

7.	Repeat Steps 5 and 6 with the remaining food coloring samples.

8.	Obtain a sample of a commercial product containing food coloring, such as a mouthwash or a beverage. Repeat Steps 5 and 6 with the commercial product.

9.	Dispose of the liquid mixture as directed.

DATA TABLE

| Trial | Food Coloring or Product | Peaks or unique features of the spectrum |
| --- | --- | --- |
| 1 |  |  |
| 2 |  |  |
| 3 |  |  |
| 4 |  |  |
| 5 |  |  |
| 6 |  |  |

DATA ANALYSIS

1.	Describe, in detail, the spectrum of each food dye sample. Emphasize the features of each spectrum that distinguishes it from the other food dyes.

2.	Identify the wavelengths and absorbance values of every peak in the graph of each food dye.

3.	Identify the food dye or dyes present in the commercial product that you tested. Support your identification with specific information from your testing.