## Slide 1
1” Cu Tee
Item # TBB1010CPEG
To Chemistry
B111
Flowmeter
For Birge Group Use
Dilution Fridge
Dewar
Expansion
For Community Use Boil Off
100L Dewar
Dewar 2
Expansion

## Slide 2
1” Cu Tee
Item # TBB1010CPEG
To B108 (Cocker)
Dewar 2
Dewar 1
Expansion
B112